## BV3
Tag Number |  | BV3
Valve to includes SS tag with tag name
Valve Specification
| Process Water | [6 empty] | Service
| Kitz model K150UTAM or equivalent | [6 empty] | Typical Selection
| Ball Valve, Split Body, Side Entry, Floating Ball, FB | [6 empty] | Type Valve
| 2 - 4 Inch | [6 empty] | Size Range
| 0 - 17.6 bar | [6 empty] | Pressure Range
| -10 to 90C | [6 empty] | Temperature Range
| 1 - 12 | [6 empty] | pH Range
| Carbon Steel - ASTM A216 Gr. WCB | [6 empty] | Body Material
| ASME B16.5 RF | [6 empty] | End Connection
| Lever for valves less than 6", handwheel | [6 empty] | Valve Operator
with gear operator for valves 6" or larger.
| Full Bore | [6 empty] | Body Construction
| Trim - 316 SS | [6 empty] | Trim Material
Seat & Seal - Reinforced PTFE
Trim Construction
Notes: | [5 empty] | Rev | Date | THIS DRAWING AND ALL INFORMATION THEREON IS THE PROPERTY OF SMI
[6 empty] | 0 | 2025-05-22 | AND IS CONFIDENTIAL.THIS DRAWING AND INCLUDED INFORMATION MUST
NOT BE MADE PUBLIC OR COPIED WITHOUT SMI PERMISSION. IT IS
By |  | Reviewed | Approved |  | Dwg Number |  |  | SUBJECT TO RETURN ON DEMAND. | Page
Spring Zheng |  |  |  |  | STD-46.1 BV3 |  |  | VALVE TEMPLATE v1 29Jan08.xls | 1 | 1
Process Engineering
1 Highland Ave. Bethlehem, PA 18017
of