## CHF
Tag Number |  | CHF
Parts to include SS tag with tag name
Specification
Process Conditions
Fluid: |  |  | Water , CaCO3 Slurry, Ca(OH)2 Slurry, FAS, phosphoric acid, Air
Contaminants: |  |  | Various
Temperature: |  |  | -320 to 400 F |  | (-195 to 204 C)
Pressure: |  |  | 1500 psig max |  | (or 100 Bar)
Cracking Pressure: |  |  | 0.5 psig
Size inches: |  | 0.5 | 0.75 | 1 | 1.5 | 2 | 4 | 6 | 8
Cv: |  | 2.4 | 4.4 | 6.1 | 18.8 | 32 | 144 | 284 | 535
pH: |  |  | 1 to 12
| Flange insert check valve, Checkall model FIV or equivalent | [8 empty] | Typical Selection
| Per the P&ID's or the equipment list. | [8 empty] | Pipe Size
| 316 SS | [8 empty] | Body Material
| ANSI 300 lb flange insert (to be inserted between two flanges) | [8 empty] | End Connection
Range 1/2 inch to 4 inch
Shaft
| 316 SS | [8 empty] | Disc
| PTFE | [8 empty] | Elastomer Seats
| 316SS | [8 empty] | Spring
Notes: | [7 empty] | Rev | Date | THIS DRAWING AND ALL INFORMATION THEREON IS THE PROPERTY OF SMI
[8 empty] | 0 | 2014-01-23 | AND IS CONFIDENTIAL.THIS DRAWING AND INCLUDED INFORMATION MUST
NOT BE MADE PUBLIC OR COPIED WITHOUT SMI PERMISSION. IT IS
By |  | Reviewed |  | Approved |  | Dwg Number |  |  |  | SUBJECT TO RETURN ON DEMAND. | Page
MRB | [5 empty] | STD-46.1 CHF |  |  |  | VALVE TEMPLATE v1 29Jan08.xls | 1 | 1
Process Engineering
1 Highland Ave. Bethlehem, PA 18017
of