## Sheet1
序号 | 型号 | 位 号TAG.NO. | 名 称 NAME | 规格参数 | 公称直径 | 数量 QTY | 备 注 RMARKS
1 | PR1 | 1220A | Pressure Regulator, Cooling Tower Makeup Water（冷却塔补给水压力调节器） | 25 PSIG\P 1.72 Bar(g) | 2 | 1
2 | PR1 | 2101A | Pressure Regulator, Filter Press Feed Pump #1 Seal Water | 51PSIG (3.5Bar(g)) | 0.5 | 1
3 | PR1 | 2300A | Pressure Regulator, Cake Disperser Pump Seal Water | 51 PSIG\P (3.5 Bar(g)) | 0.5 | 1
4 | PR1 | 2300B | Pressure Regulator, Process Water | 51 PSIG\P (3.5 Bar(g)) | 2 | 1
5 | PR1 | 2310A | Pressure Regulator, Carbonator #1 Pump Seal Water | 51PSIG (3.5Bar(g)) | 0.5 | 1
6 | PR1 | 2320A | Pressure Regulator, Carbonator #2 Pump Seal Water | 51PSIG (3.5Bar(g)) | 0.5 | 1
7 | PR1 | 2400A | Pressure Regulator, Media Mill Feed Pump Seal Water | 51PSIG (3.5Bar(g)) | 0.5 | 1
8 | PR1 | 2610A | Pressure Regulator, Process Water | 51 PSIG\P (3.5 Bar(g)) | 0.5 | 1
9 | PR1 | 2610A | Pressure Regulator, Process Water | 51 PSIG\P (3.5 Bar(g)) | 1.5 | 1
10 | PR1 | 2630A | Pressure Regulator, Process Water | 60 PSIG\P (4.1 Bar(g)) | 0.5 | 1
11 | PR1 | 2631A | Pressure Regulator, Process Water | 60 PSIG\P (4.1 Bar(g)) | 0.5 | 1
12 | PR1 | 2632A | Pressure Regulator, Process Water | 60 PSIG\P (4.1 Bar(g)) | 0.5 | 1
12